# Workplace Inspection Checklist

| School/ Department |  | Inspected By |  |
| --- | --- | --- | --- |
| Location Inspected |  | Date and Time | ---- / ---- / ---- ----- : ---- |

|  | Location Safety | Issues raised |  | Action By Whom Action by When |
| --- | --- | --- | --- | --- |
| 1 | Access and Egress Consider: - Obstructions in corridor - Condition of flooring - General Housekeeping - Damage to property - Noise / Light levels - Security of building |  |  |  |
| 2 | Fire safety Consider: - Emergency exits routes clear - Fire Extinguishers checked - Fire signage checked - Emergency lighting observed - Call points not obstructed - Fire Doors operate - Fire doors not wedged open |  |  |  |
| 3 | Office safety Consider: - Photocopier rooms - Trailing leads - Damaged cables - Workstation space - Desk Hygiene - Material Storage - General office environment - Lighting sufficient - Evidence of PAT testing - Fire doors not wedged open - Workstation assessments required? - Clear walkways / traffic routes |  |  |  |
| 5 | Work Equipment Consider: - Guarding in use - Emergency shutdown - Warning signage in place - Equipment condition - Damaged plugs or cables - Available PPE. - Chemicals labelled - Chemicals stored correctly. - COSHH risk assessments |  |  |  |
| 6 | First Aid and Welfare Consider: - First aid box available - First aid box stocked - Information available - Eyewash stations in date - Drinking facilities - General cleanliness - Local First Aiders |  |  |  |
| 7 | Environmental Issues Consider: - Waste is being deposited correctly - Waste containers are not overflowing - No chemical sewerage spills - Drainage problems - Dripping taps - Specialist waste disposal arrangements - Water penetrations - Cracked or damaged windows - Rotted doors or window frames |  |  |  |
| 8 | Staff management issues relating to inspection area | Is there are sufficient number Fire Marshal’s? Is there an appointed PAT tester? Are there staff trained or competent to complete risk assessments? |  |  Yes  No  Yes  No  Yes  No |
| 9 | Outstanding issues from previous inspection | Issues still outstanding | Comments | Issue resolved? |

Please sign after completing each Departmental Inspection – Copies can be submitted to the Health & Safety Advisor for further advice.

| Name: | Signature: |
| --- | --- |